## Qna_Report
Source | Type | Identity | Timestamp | Conversation Id | Content
Moderator | Announcement | Mike Parks (mparks@accruent.com) | 2020-08-18 12:58 | b26bb8e9-1773-4683-805b-f86f89badfd0 | Good morning, all. During the event, you can post question here that we will review and do our best to answer during the event or in a follow-up e-mail.
Moderator | Announcement | Ryan Fitzgerald (R.Fitzgerald@Anderson-Negele.com) | 2020-08-18 12:59 | 04c86fde-c65c-4d30-87e0-481ad5138cff | Thank you all for joining, the presentation will begin shortly
Moderator | Announcement | Michael Trimnal (Michael.Trimnal@anderson-negele.com) | 2020-08-18 13:19 | 637c3da5-b21c-4413-8073-7b5f52f9d44c | What is the maximum number of channels/tanks can be monitored by one PPR
Moderator | Response | Jeff Snow (J.Snow@Anderson-Negele.com) | 2020-08-18 13:23 | 637c3da5-b21c-4413-8073-7b5f52f9d44c | Currently 4 channels, with more coming in future versions.(Michael Trimnal asked "What is the maximum number of channels/tanks can be monitored by one PPR")
Moderator | Announcement | Michael Trimnal (Michael.Trimnal@anderson-negele.com) | 2020-08-18 13:39 | 0d05b66a-3bd0-4a01-85b4-8f97c6d9ac6c | Is there an audit trail for documentatoin to meet 21CFR Part 11 compliant
Moderator | Response | Ryan Fitzgerald (R.Fitzgerald@Anderson-Negele.com) | 2020-08-18 13:50 | 0d05b66a-3bd0-4a01-85b4-8f97c6d9ac6c | There is an audit trail for all annotations, approvals, calibration and configuration changes are loged automatically by the PPR. The Anderson-Negele team will publish documentation to show compliance to this FDA requirement in 2021(Michael Trimnal asked "Is there an audit trail for documentatoin to meet 21CFR Part 11 compliant")
Attendee | Question | Jeff Davis (Unverified) | 2020-08-18 13:52 | 123e3ecb-d7ef-4579-9e6a-bda547fb4121 | The recorder and software are geared to F/D/B correct? Do you see any pharma applications?
Attendee | Question | Anonymous (Unverified) | 2020-08-18 13:57 | b65f53b8-4541-4834-9093-100211cceb5b | What happens if equipment failure happens within 3 years - are the records tied to the recorder?
Moderator | Response | Ryan Fitzgerald (R.Fitzgerald@Anderson-Negele.com) | 2020-08-18 13:59 | b65f53b8-4541-4834-9093-100211cceb5b | All records are backed up on the PPR and in the cloud. No data will be lost if the physical recorder is damaged(What happens if equipment failure happens within 3 years - are the records tied to the recorder?)